**Attachment 1 -** Department’s Comments on Modification Application - Eastern Creek Recycling Ecology Park MOD10 **(**MP06\_0139-Mod-10**)**

Infrastructure covered under scope of existing approval

The Department notes the modification application requires certain works which the Applicant deems to be already approved within the scope of the original approval under MP06\_0139. These works include:

* Installation of 12 additional gas collection wells
* Replacement of a portion of the existing 160mm header line with a new 355mm header line
* Extension of the LFG network through the installation of additional 355mm header line
* Construction of in-line barometric condensate traps to remove any condensate build up
* Remedial works required to compact the clay liner back to its previous state.

Given the scale of the works required within the landfill void and the limited details provided in the original (2009) application, the Department requires further information which considers the potential construction impacts of the above works.